## MQTT Server
Smart Factory
MQTT Server
Test | HiveMQ | Mail | saijo.eng01@gmail.com
|  | Password | Sj_123456
HiveMQ
|  | user | saijo.eng01@gmail.com
|  | password | Sj_123456
Credentials
|  |  | User | Saijomqtt01
|  |  | Password | Sj_123456

## MQTT Protocol
Smart Factory
MQTT Protocol
Rev. 01
Update : 22/9/2025
Power meter
1 Station( Topic ) ประกอบด้วย P meter จำนวน 8 ชุด ID 1-8
MQTT
[5 empty] | ID 01 |  | ID 02 |  |  | ID 08
[7 empty] | V | V | V | A | A | A | kW | - | kWh
| Station | Topic name | แผนก | Stand by Power Level | Name | Power Meter ID | Voltage L1 | Voltage L2 | Voltage L3 | Current L1 | Current L2 | Current L3 | Active Power | Power Factor | Energy
| 1 | PMeterStation01 | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 300 Ton : STL003 | 1 | M1VL1 | M1VL2 | M1VL3 | M1CL1 | M1CL2 | M1CL3 | M1P | M1PF | M1E
|  |  | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 500 Ton : STL002 | 2 | M2VL1 | M2VL2 | M2VL3 | M2CL1 | M2CL2 | M2CL3 | M2P | M2PF | M2E
|  |  | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 300 Ton : STL004 | 3 | M3VL1 | M3VL2 | M3VL3 | M3CL1 | M3CL2 | M3CL3 | M3P | M3PF | M3E
|  |  | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 500 Ton : STL001 | 4 | M4VL1 | M4VL2 | M4VL3 | M4CL1 | M4CL2 | M4CL3 | M4P | M4PF | M4E
|  |  | ตู้ไฟฟ้าเมน | 0.1 | ตู้ไฟฟ้า MDB3 : แผนกจัดส่ง | 5 | M5VL1 | M5VL2 | M5VL3 | M5CL1 | M5CL2 | M5CL3 | M5P | M5PF | M5E
|  |  | - | - | - | 6 | M6VL1 | M6VL2 | M6VL3 | M6CL1 | M6CL6 | M6CL3 | M6P | M6PF | M6E
|  |  | - | - | - | 7 | M7VL1 | M7VL2 | M7VL3 | M7CL1 | M7CL2 | M7CL3 | M7P | M7PF | M7E
|  |  | - | - | - | 8 | M8VL1 | M8VL2 | M8VL3 | M8CL1 | M8CL8 | M8CL3 | M8P | M8PF | M8E
| 2 | PMeterStation02 | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 200 Ton : STL027 | 1 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 200 Ton : STL028 | 2 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 150 Ton : STL005 | 3 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | ปั้มเหล็ก 150 Ton : STL026 | 4 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | ไลน์พ่นสี | 5 | ID 02 V: Same as above
|  |  | - | - | - | 6
|  |  | - | - | - | 7
|  |  | - | - | - | 8
| 3 | PMeterStation03 | ผลิต โลหะ | 0.1 | เครื่องพับเหล็ก : 1 | 1 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | เครื่องพับเหล็ก : 2 | 2 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | เครื่องพับเหล็ก : 3 | 3 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | เครื่องพับเหล็ก : 4 | 4 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | เครื่องพับเหล็ก : 5 | 5 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | เลเซอร์ตัดเหล็ก HSG : 3 | 6 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | เลเซอร์ตัดเหล็ก Hinomoto : 2 | 7 | ID 02 V: Same as above
|  |  | ผลิต โลหะ | 0.1 | เลเซอร์ตัดเหล็ก Hinomoto : 1 | 8 | ID 02 V: Same as above
| 4 | PMeterStation04 | ผลิต คอยล์ | 0.1 | Leak Test Helium | 1 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | Hairpin OMS | 2 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | Hairpin OAK 3/8 | 3 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เชื่อม Auto คอยล์เย็น | 4 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เชื่อม Auto คอยล์ร้อน | 5 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องเบ่งคอยล์เขียว 1 | 6 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องเบ่งคอยล์เขียว 2 | 7 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | - | - | 8
| 5 | PMeterStation05 | ผลิต คอยล์ | 0.1 | เครื่องปั้มฟินเขียว 1 | 1 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องปั้มฟินเขียว SUE | 2 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องปัมฟินขาว 7mm. | 3 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องปัมฟินขาว 3/8 | 4 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องเบ่งคอยล์ขาว 1 | 5 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องเบ่งคอยล์ขาว 2 | 6 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | Hairpin OAK 7mm. | 7 | ID 02 V: Same as above
|  |  | - | - | - | 8
| 6 | PMeterStation06 | ผลิต คอยล์ | 0.1 | เครื่องตัดท่อ 1 | 1 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องตัดท่อ 2 | 2 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องตัดท่อ 3 | 3 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องดัดท่อ 1 | 4 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องดัดท่อ 2 | 5 | ID 02 V: Same as above
|  |  | ผลิต คอยล์ | 0.1 | เครื่องดัดท่อ 3 | 6 | ID 02 V: Same as above
|  |  | - | - | - | 7
|  |  | - | - | - | 8
| 7 | PMeterStation07 | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 004 | 1 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 007 | 2 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 006 | 3 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 008 | 4 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 011 | 5 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 014 | 6 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 013 | 7 | ID 02 V: Same as above
|  |  | - | - | - | 8
| 8 | PMeterStation08 | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 018 | 1 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 001 | 2 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 017 | 3 | ID 02 V: Same as above
|  |  | ผลิต พลาสติก | 0.1 | เครื่องฉีดพลาสติก : 015 | 4 | ID 02 V: Same as above
|  |  | ตู้ไฟฟ้าเมน | 0.1 | ตู้ไฟฟ้า MDB1 : แผนกแม่พิมพ์ | 5 | ID 02 V: Same as above
|  |  | ตู้ไฟฟ้าเมน | 0.1 | ตู้ไฟฟ้า MDB2 : แผนกแม่พิมพ์ | 6 | ID 02 V: Same as above
|  |  | - | - | - | 7
|  |  | - | - | - | 8
| 9 | PMeterStation09 | ส่วนกลาง | 0.1 | ปั้มลม 1 | 1 | ID 02 V: Same as above
|  |  | ส่วนกลาง | 0.1 | ปั้มลม 2 | 2 | ID 02 V: Same as above
|  |  | ส่วนกลาง | 0.1 | ปั้มลม 3 | 3 | ID 02 V: Same as above
|  |  | ส่วนกลาง | 0.1 | ปั้มลม 4 | 4 | ID 02 V: Same as above
|  |  | - | - | - | 5
|  |  | - | - | - | 6
|  |  | - | - | - | 7
|  |  | - | - | - | 8
Sample
| Topic: PMeterStation01 { |  | "M1VL1":2321,"M1VL2":2321,"M1VL3":2321,"M1CL1":1522,"M1CL2":1522,"M1CL3":1522,"M1P":4995,"M1PF":095,"M1E":2324,
"M2VL1":2321,"M2VL2":2321,"M2VL3":2321,"M2CL1":1522,"M2CL2":1522,"M2CL3":1522,"M2P":4995,"M2PF":095,"M2E":2324,
"M3VL1":2321,"M3VL2":2321,"M3VL3":2321,"M3CL1":1522,"M3CL2":1522,"M3CL3":1522,"M3P":4995,"M3PF":095,"M3E":2324,
"M4VL1":2321,"M4VL2":2321,"M4VL3":2321,"M4CL1":1522,"M4CL2":1522,"M4CL3":1522,"M4P":4995,"M4PF":095,"M4E":2324,
"M5VL1":2321,"M5VL2":2321,"M5VL3":2321,"M5CL1":1522,"M5CL2":1522,"M5CL3":1522,"M5P":4995,"M5PF":095,"M5E":2324,
"M6VL1":2321,"M6VL2":2321,"M6VL3":2321,"M6CL1":1522,"M6CL2":1522,"M6CL3":1522,"M6P":4995,"M6PF":095,"M6E":2324,
"M7VL1":2321,"M7VL2":2321,"M7VL3":2321,"M7CL1":1522,"M7CL2":1522,"M7CL3":1522,"M7P":4995,"M7PF":095,"M7E":2324,
"M8VL1":2321,"M8VL2":2321,"M8VL3":2321,"M8CL1":1522,"M8CL2":1522,"M8CL3":1522,"M8P":4995,"M8PF":095,"M8E":2324 }
| Topic: PMeterStation02 { |  | "M1VL1":2321,"M1VL2":2321,"M1VL3":2321,"M1CL1":1522,"M1CL2":1522,"M1CL3":1522,"M1P":4995,"M1PF":095,"M1E":2324,
"M2VL1":2321,"M2VL2":2321,"M2VL3":2321,"M2CL1":1522,"M2CL2":1522,"M2CL3":1522,"M2P":4995,"M2PF":095,"M2E":2324,
"M3VL1":2321,"M3VL2":2321,"M3VL3":2321,"M3CL1":1522,"M3CL2":1522,"M3CL3":1522,"M3P":4995,"M3PF":095,"M3E":2324,
"M4VL1":2321,"M4VL2":2321,"M4VL3":2321,"M4CL1":1522,"M4CL2":1522,"M4CL3":1522,"M4P":4995,"M4PF":095,"M4E":2324,
"M5VL1":2321,"M5VL2":2321,"M5VL3":2321,"M5CL1":1522,"M5CL2":1522,"M5CL3":1522,"M5P":4995,"M5PF":095,"M5E":2324,
"M6VL1":2321,"M6VL2":2321,"M6VL3":2321,"M6CL1":1522,"M6CL2":1522,"M6CL3":1522,"M6P":4995,"M6PF":095,"M6E":2324,
"M7VL1":2321,"M7VL2":2321,"M7VL3":2321,"M7CL1":1522,"M7CL2":1522,"M7CL3":1522,"M7P":4995,"M7PF":095,"M7E":2324,
"M8VL1":2321,"M8VL2":2321,"M8VL3":2321,"M8CL1":1522,"M8CL2":1522,"M8CL3":1522,"M8P":4995,"M8PF":095,"M8E":2324 }
Function test Indoor
MQTT
[5 empty] | ID 01 |  | ID 02 V: ID 02
[5 empty] | V | A | bar: ID 02 V to ID 02 V
| Station | Topic name | Name | Device ID | Voltage L1 | Current L1 | ID 02 V: Active Power; ID 02 V: Power Factor
| 1 | FTIndoor01 | FunctionTestIndoor01 | 1 | M1VL1 | M1CL1 | ID 02 V: M1P; ID 02 V: M1PF | [5 empty] | P meter
[5 empty] | Function test Status | Unit under test P | Unit under test Mode | Unit under test Fan speed | Unit under test Setting Teerature | Unit under test Louver | Unit under test APS | Unit under test Wifi Connection | Unit under test Test result | Unit under test Error code | Unit under test Room Teerature | Unit under test Coil In Teerature | Unit under test Coil Out Teerature | Unit under test Humidity | Unit under test PM2.5 | Unit under test CO2
|  |  |  | 2 | UUTStatus | UUTP | UUTMode | UUTFanspeed | UUTSetTe | UUTLouver | UUTAPS | UUTWifi | UUTTestResult | UUTErrorCode | UUTRoomTe | UUTCoilInTe | UUTCoilOutTe | UUTHumidity | UUTPM25 | UUTCO2 | Board control
| 2 | FTIndoor02 | FunctionTestIndoor02 | Same as above
| 3 | FTIndoor03 | FunctionTestIndoor03 | Same as above
| 4 | FTIndoor04 | FunctionTestIndoor04 | Same as above
| 5 | FTIndoor05 | FunctionTestIndoor05 | Same as above
| 6 | FTIndoor06 | FunctionTestIndoor06 | Same as above
| 7 | FTIndoor07 | FunctionTestIndoor07 | Same as above
| 8 | FTIndoor08 | FunctionTestIndoor08 | Same as above
| 9 | FTIndoor09 | FunctionTestIndoor09 | Same as above
| 10 | FTIndoor10 | FunctionTestIndoor10 | Same as above
|  |  |  | 0 : Stop, 1 : Running | 0 : Off, 1 : On | 0 : Cool 1 : Dry 2 : Auto 3 : Heat 4 : Fan | 0 : Auto 1 : Low 2 : Medium 3 : High 4 : HiHi 5 : Turbo | Setting Teerature = data / 2 | 0 : Swing 1 : LV1 2 : LV2 3 : LV3 4 : LV4 5 : LV5 | 0 : Off 1 : On | 0 : Not Connect 1 : Connect | 0 : Fail, 1 : Pass |  | Value = Data/4 | Value = Data - 40 | Value = Data - 40 | Room %RH = data | PM2.5 = Data | CO2 = Data
Sample
| Topic: FTIndoor01 { |  | "M1VL1":2321,"M1CL1":1522,"M1P":4995,"M1PF":095,
"UUTStatus":0,"UUTP":0,"UUTMode":1,"UUTFanspeed":0,"UUTSetTe":0,"UUTLouver":0,"UUTAPS":1,"UUTWifi":0,"UUTTestResult":0,
"UUTErrorCode":11,"UUTRoomTe":255,"UUTCoilInTe":30,"UUTCoilOutTe":25,"UUTHumidity":50,"UUTPM25":255,"UUTCO2":800 }
| Topic: FTIndoor02 { |  | "M1VL1":2321,"M1CL1":1522,"M1P":4995,"M1PF":095,
"UUTStatus":0,"UUTP":0,"UUTMode":1,"UUTFanspeed":0,"UUTSetTe":0,"UUTLouver":0,"UUTAPS":1,"UUTWifi":0,"UUTTestResult":0,
"UUTErrorCode":11,"UUTRoomTe":255,"UUTCoilInTe":30,"UUTCoilOutTe":25,"UUTHumidity":50,"UUTPM25":255,"UUTCO2":800 }
Function test Outdoor
MQTT
[5 empty] | ID 01 |  | ID 02 V: ID 02; ID 02 V: ID 03
[5 empty] | V | V | V | A | A | A | kW | -
| Station | Topic name | Name | Power Meter ID | Voltage L1 | Voltage L2 | Voltage L3 | Current L1 | Current L2 | Current L3 | Active Power | Power Factor
| 1 | FTOutdoor01 | FunctionTestOutdoor01 | 1 | M1VL1 | M1VL2 | M1VL3 | M1CL1 | M1CL2 | M1CL3 | M1P | M1PF
[9 empty] | % | RPS | A | V | oC | oC | oC | oC | oC |  | RPM |  | oC | %RH | Hz | oC
|  |  |  | Board ID | Function test Status | Unit under test Test result | Unit under test Error code | Unit under test Mode | Unit under test %Running | Unit under test Compressor speed | Unit under test Compressor Cent | Unit under test DC Vage | Unit under test Discharge Teerature | Unit under test Condenser Teerature | Unit under test Suction Teerature | Unit under test Ambient Teerature | Unit under test IPM Teerature | Unit under test Outdoor Fan Speed | Unit under test Outdoor Fan RPM | Unit under test EXV Position | Unit under test Fresh Air Teerature | Unit under test Fresh Air Humidity | Unit under test Fresh Air Hz | Unit under test Fresh Air Evaporator Teerature
|  |  |  | 2 | UUTStatus | UUTTestResult | UUTErrorCode | UUTMode | UUTRunning | UUTCompSpeed | UUTCompCent | UUTDCV | UUTDischTe | UUTCondTe | UUTSuctTe | UUTAmbTe | UUTIPMTe | UUTODFanSpeed | UUTODFanRPM | UUTEXV | UUTFATe | UUTFAHumidity | UUTFAHz | UUTFAEvapTe
PSI
|  |  |  | Pressure Meter ID | Suction Pressure
|  |  |  | 3 | SuctPres
PSI
|  |  |  | Pressure Meter ID | Discharge Pressure
|  |  |  | 4 | DischPres
| 2 | FTOutdoor02 | FunctionTestOutdoor02 | Same as above
| 3 | FTOutdoor03 | FunctionTestOutdoor03 | Same as above
| 4 | FTOutdoor04 | FunctionTestOutdoor04 | Same as above
| 5 | FTOutdoor05 | FunctionTestOutdoor05 | Same as above
| 6 | FTOutdoor06 | FunctionTestOutdoor06 | Same as above
| 7 | FTOutdoor07 | FunctionTestOutdoor07 | Same as above
| 8 | FTOutdoor08 | FunctionTestOutdoor08 | Same as above
| 9 | FTOutdoor09 | FunctionTestOutdoor09 | Same as above
| 10 | FTOutdoor10 | FunctionTestOutdoor10 | Same as above
| 11 | FTOutdoor11 | FunctionTestOutdoor11 | Same as above
| 12 | FTOutdoor12 | FunctionTestOutdoor12 | Same as above
| 13 | FTOutdoor13 | FunctionTestOutdoor13 | Same as above
| 14 | FTOutdoor14 | FunctionTestOutdoor14 | Same as above
| 15 | FTOutdoor15 | FunctionTestOutdoor15 | Same as above
| 16 | FTOutdoor16 | FunctionTestOutdoor16 | Same as above
| 17 | FTOutdoor17 | FunctionTestOutdoor17 | Same as above
| 18 | FTOutdoor18 | FunctionTestOutdoor18 | Same as above
| 19 | FTOutdoor19 | FunctionTestOutdoor19 | Same as above
| 20 | FTOutdoor20 | FunctionTestOutdoor20 | Same as above
Sample
| Topic: FTOutdoor01 { |  | "M1VL1":2321,M1VL2":2321,M1VL3":2321,"M1CL1":1522,"M1CL2":1522,"M1CL3":1522,"M1P":4995,"M1PF":095,
"UUTStatus":0,"UUTTestResult":0,"UUTErrorCode":1,"UUTRunning":0,"UUTCompSpeed":0,"UUTCompCent":0,"UUTDCV":1,"UUTDischTe":0,"UUTCondTe":0,"UUTSuctTe":0,"UUTAmbTe":0,
"UUTIPMTe":11,"UUTODFanSpeed":255,"UUTODFanRPM":30,"UUTEXV":25,"UUTFATe":50,"UUTFAHumidity":255,"UUTFAHz":800,"UUTFAEvapTe":800,
"SuctPres":11,"DischPres":255 }
| Topic: FTOutdoor02 { |  | "M1VL1":2321,M1VL2":2321,M1VL3":2321,"M1CL1":1522,"M1CL2":1522,"M1CL3":1522,"M1P":4995,"M1PF":095,
"UUTStatus":0,"UUTTestResult":0,"UUTErrorCode":1,"UUTRunning":0,"UUTCompSpeed":0,"UUTCompCent":0,"UUTDCV":1,"UUTDischTe":0,"UUTCondTe":0,"UUTSuctTe":0,"UUTAmbTe":0,
"UUTIPMTe":11,"UUTODFanSpeed":255,"UUTODFanRPM":30,"UUTEXV":25,"UUTFATe":50,"UUTFAHumidity":255,"UUTFAHz":800,"UUTFAEvapTe":800,
"SuctPres":11,"DischPres":255 }
Field Test
MQTT
[5 empty] | ID 01 |  | ID 02 |  | %: ID 03; A: ID 04; oC: ID 05; oC: ID 06
MQTT Gate way
หนึ่งตัวคุมสองเครื่อง
หนึ่ง Topic ข้อมูลเป็นของสองเครื่อง
[7 empty] | ID 07 |  | %: ID 08; A: ID 09; oC: ID 10; oC: ID 11
| Station | Topic name | Name | Power Meter ID | Voltage L1 | Voltage L2 | Voltage L3 | Current L1 | %: Current L2; RPS: Current L3; A: Active Power
| 1 | FieldTest0102 | FieldTest01 | 1 | FT01VL1 |  |  | FT01CL1 | A: FT01PL1
|  |  |  | Board ID | Unit under test Mode | Unit under test Fan speed | Unit under test Fan RPM | Unit under test Set Teerature | Unit under test Louver | Unit under test APS | Unit under test Wifi Connection | Unit under test Error code | Unit under test Indoor Room Teerature | Unit under test Indoor Coil In Teerature | Unit under test Indoor Coil Out Teerature | Unit under test Indoor Humidity | Unit under test Indoor PM2.5 | Unit under test Indoor CO2
|  |  |  | 2 | FT01Mode | FT01Fanspeed | FT01FanRPM | FT01SetTe | FT01Louver | FT01APS | FT01Wifi | FT01ErrorCode | FT01RoomTe | FT01CoilInTe | FT01CoilOutTe | FT01Humidity | FT01PM25 | FT01CO2
|  |  |  | Board ID | Unit under test %Running | Unit under test Compressor speed | Unit under test Compressor Cent | Unit under test DC Vage | Unit under test Disarge Teerature | Unit under test Condenser Teerature | Unit under test Suction Teerature | Unit under test Ambient Teerature | Unit under test IPM Teerature | Unit under test Outdoor Fan Speed | Unit under test Outdoor Fan RPM | Unit under test EXV Position | Unit under test Fresh Air Teerature | Unit under test Fresh Air Humidity | Unit under test Fresh Air Hz | Unit under test Fresh Air Evaporator Teerature
|  |  |  | 2 | FT01Running | FT01CompSpeed | FT01CompCent | FT01DCV | FT01DisTe | FT01CondTe | FT01SuctTe | FT01AmbTe | FT01IPMTe | FT01ODFanSpeed | FT01ODFanRPM | FT01EXV | FT01FATe | FT01FAHumidity | FT01FAHz | FT01FAEvapTe
PSI
|  |  |  | Pressure Meter ID | Suction Pressure pressure_psi_1
|  |  |  | 3 | FT01SuctPres
PSI
|  |  |  | Pressure Meter ID | Disarge Pressure pressure_psi_2
|  |  |  | 4 | FT01DisPres
|  |  |  | Teerature Meter ID | Teerature_1 | Teerature_2 | Teerature_3 | Teerature_4 | Teerature_5 | Teerature_6 | Teerature_7 | Teerature_8 | Teerature_9 | Teerature_10
|  |  |  | 5 | FT01Te01 | FT01Te02 | FT01Te03 | FT01Te04 | FT01Te05 | FT01Te06 | FT01Te07 | FT01Te08 | FT01Te09 | FT01Te10
|  |  |  | Teerature and Humidity Meter ID | Room Teerature Teerature_11 | Room Humidity humidity_11
|  |  |  | 6 | FT01RmTe | FT01RmHumi
|  |  | Name | Power Meter ID | Voltage L1 | Voltage L2 | Voltage L3 | Current L1 | Current L2 | Current L3 | Active Power
|  |  | FieldTest02 | 5: 1; FT01Te02: FT02VL1; FT01Te05: FT02CL1; FT01Te07: FT02PL1
|  |  |  | Board ID | Unit under test Mode | Unit under test Fan speed | Unit under test Fan RPM | Unit under test Set Teerature | Unit under test Louver | Unit under test APS | Unit under test Wifi Connection | Unit under test Error code | Unit under test Indoor Room Teerature | Unit under test Indoor Coil In Teerature | Unit under test Indoor Coil Out Teerature | Unit under test Indoor Humidity | Unit under test Indoor PM2.5 | Unit under test Indoor CO2
|  |  |  | 7 | FT02Mode | FT02Fanspeed | FT02FanRPM | FT02SetTe | FT02Louver | FT02APS | FT02Wifi | FT02ErrorCode | FT02RoomTe | FT02CoilInTe | FT02CoilOutTe | FT02Humidity | FT02PM25 | FT02CO2
|  |  |  | Board ID | Unit under test %Running | Unit under test Compressor speed | Unit under test Compressor Cent | Unit under test DC Vage | Unit under test Disarge Teerature | Unit under test Condenser Teerature | Unit under test Suction Teerature | Unit under test Ambient Teerature | Unit under test IPM Teerature | Unit under test Outdoor Fan Speed | Unit under test Outdoor Fan RPM | Unit under test EXV Position | Unit under test Fresh Air Teerature | Unit under test Fresh Air Humidity | Unit under test Fresh Air Hz | Unit under test Fresh Air Evaporator Teerature
|  |  |  | 7 | FT02Running | FT02CompSpeed | FT02CompCent | FT02DCV | FT02DisTe | FT02CondTe | FT02SuctTe | FT02AmbTe | FT02IPMTe | FT02ODFanSpeed | FT02ODFanRPM | FT02EXV | FT02FATe | FT02FAHumidity | FT02FAHz | FT02FAEvapTe
PSI
|  |  |  | Pressure Meter ID | Suction Pressure pressure_psi_1
|  |  |  | 8 | FT02SuctPres
PSI
|  |  |  | Pressure Meter ID | Disarge Pressure pressure_psi_2
|  |  |  | 9 | FT02DisPres
|  |  |  | Teerature Meter ID | Teerature_1 | Teerature_2 | Teerature_3 | Teerature_4 | Teerature_5 | Teerature_6 | Teerature_7 | Teerature_8 | Teerature_9 | Teerature_10
|  |  |  | 10 | FT02Te01 | FT02Te02 | FT02Te03 | FT02Te04 | FT02Te05 | FT02Te06 | FT02Te07 | FT02Te08 | FT02Te09 | FT02Te10
|  |  |  | Teerature and Humidity Meter ID | Room Teerature Teerature_11 | Room Humidity humidity_11
|  |  |  | 11 | FT02RmTe | FT02RmHumi
| 2 | FieldTest0304 | FieldTest03 | 10: Same as above
|  |  | FieldTest04 | 10: Same as above
| 3 | FieldTest0506 | FieldTest05 | 10: Same as above
|  |  | FieldTest06 | 10: Same as above
| 4 | FieldTest0708 | FieldTest07 | 10: Same as above
|  |  | FieldTest08 | 10: Same as above
| 5 | FieldTest0910 | FieldTest09 | 10: Same as above
|  |  | FieldTest10 | 10: Same as above
| 6 | FieldTest1112 | FieldTest11 | 10: Same as above
|  |  | FieldTest12 | 10: Same as above
| 7 | FieldTest1314 | FieldTest13 | 10: Same as above
|  |  | FieldTest14 | 10: Same as above
| 8 | FieldTest1516 | FieldTest15 | 10: Same as above
|  |  | FieldTest16 | 10: Same as above
| 9 | FieldTest1718 | FieldTest17 | 10: Same as above
|  |  | FieldTest18 | 10: Same as above
| 10 | FieldTest1920 | FieldTest19 | 10: Same as above
|  |  | FieldTest20 | 10: Same as above
Sample
| Topic: FieldTest0102 { |  | "FT01VL1":2321,FT01CL1":2321,FT01PL1":2321,
"FT01Mode":9999,"FT01Fanspeed":9999,"FT01FanRPM":9999,"FT01SetTe":9999,"FT01Louver":9999,"FT01APS":9999,"FT01Wifi":9999,"FT01ErrorCode":9999,"FT01RoomTe":9999,"FT01CoilInTe":9999,"FT01CoilOutTe":9999,"FT01Humidity":9999,"FT01PM25":9999,"FT01CO2":9999,
"FT01Running":99991,"FT01CompSpeed":99995,"FT01CompCent":9999,"FT01DisTe":9999,"FT01CondTe":9999,"FT01SuctTe":99995,"FT01AmbTe":800,"FT01IPMTe":800,"FT01ODFanSpeed":9999,"FT01ODFanRPM":9999,"FT01EXV":9999,"FT01FATe":9999,"FT01FAHumidity":9999,"FT01FAHz":9999,"FT01FAEvapTe":9999,
"FT01SuctPres":99991,"FT01DisPres":99995,
"FT01Te01":9999,"FT01Te02":9999,"FT01Te03":9999,"FT01Te04":9999,"FT01Te05":9999,"FT01Te06":9999,"FT01Te07":9999,"FT01Te08":9999,"FT01Te09":9999,"FT01Te10":9999,
"FT01RmTe":99991,"FT01RmHumi":99995,
"FT02VL1":2321,FT02CL1":2321,FT02PL1":2321,
"FT02Mode":9999,"FT02Fanspeed":9999,"FT02FanRPM":9999,"FT02SetTe":9999,"FT02Louver":9999,"FT02APS":9999,"FT02Wifi":9999,"FT02ErrorCode":9999,"FT02RoomTe":9999,"FT02CoilInTe":9999,"FT02CoilOutTe":9999,"FT02Humidity":9999,"FT02PM25":9999,"FT02CO2":9999,
"FT02Running":99991,"FT02CompSpeed":99995,"FT02CompCent":9999,"FT02DisTe":9999,"FT02CondTe":9999,"FT02SuctTe":99995,"FT02AmbTe":800,"FT02IPMTe":800,"FT02ODFanSpeed":9999,"FT02ODFanRPM":9999,"FT02EXV":9999,"FT02FATe":9999,"FT02FAHumidity":9999,"FT02FAHz":9999,"FT02FAEvapTe":9999,
"FT02SuctPres":99991,"FT02DisPres":99995,
"FT02Te01":9999,"FT02Te02":9999,"FT02Te03":9999,"FT02Te04":9999,"FT02Te05":9999,"FT02Te06":9999,"FT02Te07":9999,"FT02Te08":9999,"FT02Te09":9999,"FT02Te10":9999,
"FT02RmTe":99991,"FT02RmHumi":99995 }
Reliability Test
MQTT
|  |  |  | FT02Te01: ID 01; FT02Te03: ID 02; FT02Te05: ID 03; FT02Te07: ID 04; FT02Te09: ID 05 | ID 06
MQTT Gate way
หนึ่งตัวคุมสองเครื่อง
หนึ่ง Topic ข้อมูลเป็นของสองเครื่อง
|  |  |  | FT02Te03: ID 07; FT02Te05: ID 08; FT02Te07: ID 09; FT02Te09: ID 10 | ID 11
| Station | Topic name | Name | Power Meter ID | Voltage L1 | Voltage L2 | Voltage L3 | Current L1 | Current L2 | Current L3 | Active Power
| 1 | ReliabilityTest0102 | ReliabilityTest01 | 10: 1; FT02Te01: RL01VL1; FT02Te04: RL01CL1; FT02Te07: RL01PL1
|  |  |  | Board ID | Unit under test Mode | Unit under test Fan speed | Unit under test Fan RPM | Unit under test Set Teerature | Unit under test Louver | Unit under test APS | Unit under test Wifi Connection | Unit under test Error code | Unit under test Indoor Room Teerature | Unit under test Indoor Coil In Teerature | Unit under test Indoor Coil Out Teerature | Unit under test Indoor Humidity | Unit under test Indoor PM2.5 | Unit under test Indoor CO2
|  |  |  | 2 | RL01Mode | RL01Fanspeed | RL01FanRPM | RL01SetTe | RL01Louver | RL01APS | RL01Wifi | RL01ErrorCode | RL01RoomTe | RL01CoilInTe | RL01CoilOutTe | RL01Humidity | RL01PM25 | RL01CO2
|  |  |  | Board ID | Unit under test %Running | Unit under test Compressor speed | Unit under test Compressor Cent | Unit under test DC Vage | Unit under test Disarge Teerature | Unit under test Condenser Teerature | Unit under test Suction Teerature | Unit under test Ambient Teerature | Unit under test IPM Teerature | Unit under test Outdoor Fan Speed | Unit under test Outdoor Fan RPM | Unit under test EXV Position | Unit under test Fresh Air Teerature | Unit under test Fresh Air Humidity | Unit under test Fresh Air Hz | Unit under test Fresh Air Evaporator Teerature
|  |  |  | 2 | RL01Running | RL01CompSpeed | RL01CompCent | RL01DCV | RL01DisTe | RL01CondTe | RL01SuctTe | RL01AmbTe | RL01IPMTe | RL01ODFanSpeed | RL01ODFanRPM | RL01EXV | RL01FATe | RL01FAHumidity | RL01FAHz | RL01FAEvapTe
PSI
|  |  |  | Pressure Meter ID | Suction Pressure pressure_psi_1
|  |  |  | 3 | RL01SuctPres
PSI
|  |  |  | Pressure Meter ID | Disarge Pressure pressure_psi_2
|  |  |  | 4 | RL01DisPres
|  |  |  | Teerature Meter ID | Teerature_1 | Teerature_2 | Teerature_3 | Teerature_4 | Teerature_5 | Teerature_6 | Teerature_7 | Teerature_8 | Teerature_9 | Teerature_10
|  |  |  | 5 | RL01Te01 | RL01Te02 | RL01Te03 | RL01Te04 | RL01Te05 | RL01Te06 | RL01Te07 | RL01Te08 | RL01Te09 | RL01Te10
|  |  |  | Teerature and Humidity Meter ID | Room Teerature Teerature_11 | Room Humidity humidity_11
|  |  |  | 6 | RL01RmTe | RL01RmHumi
|  |  | Name | Power Meter ID | Voltage L1 | Voltage L2 | Voltage L3 | Current L1 | Current L2 | Current L3 | Active Power
|  |  | ReliabilityTest02 | 5: 1; RL01Te02: RL02VL1; RL01Te05: RL02CL1; RL01Te07: RL02PL1
|  |  |  | Board ID | Unit under test Mode | Unit under test Fan speed | Unit under test Fan RPM | Unit under test Set Teerature | Unit under test Louver | Unit under test APS | Unit under test Wifi Connection | Unit under test Error code | Unit under test Indoor Room Teerature | Unit under test Indoor Coil In Teerature | Unit under test Indoor Coil Out Teerature | Unit under test Indoor Humidity | Unit under test Indoor PM2.5 | Unit under test Indoor CO2
|  |  |  | 7 | RL02Mode | RL02Fanspeed | RL02FanRPM | RL02SetTe | RL02Louver | RL02APS | RL02Wifi | RL02ErrorCode | RL02RoomTe | RL02CoilInTe | RL02CoilOutTe | RL02Humidity | RL02PM25 | RL02CO2
|  |  |  | Board ID | Unit under test %Running | Unit under test Compressor speed | Unit under test Compressor Cent | Unit under test DC Vage | Unit under test Disarge Teerature | Unit under test Condenser Teerature | Unit under test Suction Teerature | Unit under test Ambient Teerature | Unit under test IPM Teerature | Unit under test Outdoor Fan Speed | Unit under test Outdoor Fan RPM | Unit under test EXV Position | Unit under test Fresh Air Teerature | Unit under test Fresh Air Humidity | Unit under test Fresh Air Hz | Unit under test Fresh Air Evaporator Teerature
|  |  |  | 7 | RL02Running | RL02CompSpeed | RL02CompCent | RL02DCV | RL02DisTe | RL02CondTe | RL02SuctTe | RL02AmbTe | RL02IPMTe | RL02ODFanSpeed | RL02ODFanRPM | RL02EXV | RL02FATe | RL02FAHumidity | RL02FAHz | RL02FAEvapTe
PSI
|  |  |  | Pressure Meter ID | Suction Pressure pressure_psi_1
|  |  |  | 8 | RL02SuctPres
PSI
|  |  |  | Pressure Meter ID | Disarge Pressure pressure_psi_2
|  |  |  | 9 | RL02DisPres
|  |  |  | Teerature Meter ID | Teerature_1 | Teerature_2 | Teerature_3 | Teerature_4 | Teerature_5 | Teerature_6 | Teerature_7 | Teerature_8 | Teerature_9 | Teerature_10
|  |  |  | 10 | RL02Te01 | RL02Te02 | RL02Te03 | RL02Te04 | RL02Te05 | RL02Te06 | RL02Te07 | RL02Te08 | RL02Te09 | RL02Te10
|  |  |  | Teerature and Humidity Meter ID | Room Teerature Teerature_11 | Room Humidity humidity_11
|  |  |  | 11 | RL02RmTe | RL02RmHumi
| 2 | ReliabilityTest0304 | ReliabilityTest03 | 10: Same as above
|  |  | ReliabilityTest04 | 10: Same as above
| 3 | ReliabilityTest0506 | ReliabilityTest05 | 10: Same as above
|  |  | ReliabilityTest06 | 10: Same as above
| 4 | ReliabilityTest0708 | ReliabilityTest07 | 10: Same as above
|  |  | ReliabilityTest08 | 10: Same as above
| 5 | ReliabilityTest0910 | ReliabilityTest09 | 10: Same as above
|  |  | ReliabilityTest10 | 10: Same as above
Sample
| Topic: ReliabilityTest0102 { |  | "RL01VL1":2321,RL01CL1":2321,RL01PL1":2321,
"RL01Mode":9999,"RL01Fanspeed":9999,"RL01FanRPM":9999,"RL01SetTe":9999,"RL01Louver":9999,"RL01APS":9999,"RL01Wifi":9999,"RL01ErrorCode":9999,"RL01RoomTe":9999,"RL01CoilInTe":9999,"RL01CoilOutTe":9999,"RL01Humidity":9999,"RL01PM25":9999,"RL01CO2":9999,
"RL01Running":99991,"RL01CompSpeed":99995,"RL01CompCent":9999,"RL01DisTe":9999,"RL01CondTe":9999,"RL01SuctTe":99995,"RL01AmbTe":800,"RL01IPMTe":800,"RL01ODFanSpeed":9999,"RL01ODFanRPM":9999,"RL01EXV":9999,"RL01FATe":9999,"RL01FAHumidity":9999,"RL01FAHz":9999,"RL01FAEvapTe":9999,
"RL01SuctPres":99991,"RL01DisPres":99995,
"RL01Te01":9999,"RL01Te02":9999,"RL01Te03":9999,"RL01Te04":9999,"RL01Te05":9999,"RL01Te06":9999,"RL01Te07":9999,"RL01Te08":9999,"RL01Te09":9999,"RL01Te10":9999,
"RL01RmTe":99991,"RL01RmHumi":99995,
"RL02VL1":2321,RL02CL1":2321,RL02PL1":2321,
"RL02Mode":9999,"RL02Fanspeed":9999,"RL02FanRPM":9999,"RL02SetTe":9999,"RL02Louver":9999,"RL02APS":9999,"RL02Wifi":9999,"RL02ErrorCode":9999,"RL02RoomTe":9999,"RL02CoilInTe":9999,"RL02CoilOutTe":9999,"RL02Humidity":9999,"RL02PM25":9999,"RL02CO2":9999,
"RL02Running":99991,"RL02CompSpeed":99995,"RL02CompCent":9999,"RL02DisTe":9999,"RL02CondTe":9999,"RL02SuctTe":99995,"RL02AmbTe":800,"RL02IPMTe":800,"RL02ODFanSpeed":9999,"RL02ODFanRPM":9999,"RL02EXV":9999,"RL02FATe":9999,"RL02FAHumidity":9999,"RL02FAHz":9999,"RL02FAEvapTe":9999,
"RL02SuctPres":99991,"RL02DisPres":99995,
"RL02Te01":9999,"RL02Te02":9999,"RL02Te03":9999,"RL02Te04":9999,"RL02Te05":9999,"RL02Te06":9999,"RL02Te07":9999,"RL02Te08":9999,"RL02Te09":9999,"RL02Te10":9999,
"RL02RmTe":99991,"RL02RmHumi":99995 }
IOT Gateway
Power meter
Power meter
Power meter
IOT Gateway
Power meter
Board B269
IOT Gateway
Power meter
Board B291
Pressure Meter
IOT Gateway
Power meter
Board B268
Pressure Meter
Board B268
Pressure Meter
Pressure Meter
Pressure Meter
Temperature Meter
Temperature Meter
Temperature and Humidity Meter
Temperature and Humidity Meter
IOT Gateway
Power meter
Board B268
Pressure Meter
Board B268
Pressure Meter
Pressure Meter
Pressure Meter
Temperature Meter
Temperature Meter
Temperature and Humidity Meter
Temperature and Humidity Meter

## Sample data
Field Test
| Type | Value |  | Value data pattern
| FT01VL1 | 2325 | V | 232.5 V
| FT01CL1 | 0 | A
| FT01PL1 | 0 | W
| FT01Mode | 0 |  | 0 = Cool mode
| FT01Fanspeed | 0
| FT01FanRPM | 0
| FT01SetTe | 48 |  | =48 / 2 = 24 degree C
| FT01Louver | 0 |  | 0 = Auto swing

## Value data pattern
Field test : Board control
NAME | Name | Value range | Meaning
PW | Power status | Bit0: Power status | 0 : Off | 1 : On
MODE | Operation Mode | Bit0 - Bit3 (Value 0-15) | Value 0 : Cool mode
Value 1 : Dry mode
Value 2 : Auto mode
Value 3 : Heat mode
Value 4 : Fan mode
SETTE | Setting temperature | 0 - 60 : 0 - 30 Degree celsius | Setting temperature = data / 2
ROOMTE | Room temperature | 0 - 254 : 0 - 63.5 Degree celsius | Room temperature = data / 4
SETRH | Setting %RH | 0 - 100 : 0 - 100 %RH | Setting %RH = data
RMRH | Room %RH | 0 - 100 : 0 - 100 %RH | Setting %RH = data
FANSPEED | Indoor Fan | 0 - 5 | Value 0 : Fan Auto
Value 1 : Fan Low
Value 2 : Fan Med
Value 3 : Fan High
Value 4 : Fan Hi Hi
Value 5 : Fan Turbo
LOUVER | Louver Position | 0 - 5 | Value 0 : Auto (Swing)
Value 1 : Level 1
Value 2 : Level 2
Value 3 : Level 3
Value 4 : Level 4
Value 5 : Level 5
APS | Option | Bit0: A.P.S | 0 : Off | 1 : On
FANRPM | Indoor Fan motor speed | 0 - 255 : RPM | Motor speed RPM = data * 10
FATE | Air Supply Temperature | 0 - 254 : 0 - 63.5 Degree celsius | Value = data /4 Erorr:255
WIFI | Indoor Option1
Bit 0 :
Bit 1 :
Bit 2 :
Bit 3 :
Bit4 : Spare
Bit5 : Spare
Bit6 : Spare
Bit7 : Spare
| Name | Value range | Meaning
EVINTE | Indoor0 Mid-coil temperature | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
EVOUTTE | Indoor0 Outlet temperature | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
ERR | Indoor0 Status (Status and Error code) | 0 - 65535 | Code = value
PM25L | PM 2.5 Sensor(Low) | Mass-density value conversion data [0-1]
PM25H | PM 2.5 Sensor(High) | Mass-density value conversion data [0-1]
| Name | Value range | Meaning
CDTE | Outdoor Mid-coil temperature | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
FAEVTE | Outdoor Outlet temperature | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
DISTE | Discharge Pipe temperature1 | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
AMBTE | Ambient temperature | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
SUTE | Suction Pipe temperature | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
IPMTE | Control Device temperature1 | 0 - 254 : -40 - 214 Degree celsius | Temperature = data - 40
CO2H | CO2 2 (0-2500PPM) BYTE HIGH
CO2L | CO2 2 (0-2500PPM) BYTE LOW
CPSP | Compressor1 Actual speed (RPS) | 0 - 120 : 0 - 120 RPS | Compressor speed = data
CPI | Compressor1 Current (A) | 0 - 65535 | Current = data / 10
ODFSP | Outdoor Fan speed | 0 - 3 | Value 0 : Fan off
Value 1 : Fan Low
Value 2 : Fan Med
Value 3 : Fan High
RUN | % Demand Running1 | 0 - 110 : 0 - 110 % | % demand = value
FAHZ | Fresh air motor speed (RPM) | 0 - 255 | Motor speed RPM = data * 10
DCV | System Power input (W) | 0 - 65535 | Power(W) = data
EXV | Outdoor EXV Position | 0 - 500 | EXV = data
FARH | Set Air Change | 0-255 |  |  | INDOOR FAN SET
ODFRPM | Outdoor Fan DC 1 Speed (RPM) | 0-255 | Value = data*10 RPM Value 0 - 255